## Sheet1
Printer Land	OK	Deficiencies Noted	Action Taken
Door to Pre-Build working & clear.
Floor clear, clean & dry.
Gloves, glasses, aprons, available.
Trash bin not overflowing.

Recycling	OK	Deficiencies Noted	Action Taken
Small door to parking lot working & clear.
Roll-up door to parking lot working & clear.
Electrical panel accessible (nr rollup door).
Circuit breakers inside panel are not very warm.
Floor clear, clean & dry.
Lights are all functional.
Computers stacked safely.
Gloves, glasses, dust masks, earplugs available.
First Aid & Blood Spill kits stocked.
Electrical panel accessible (nr Recycling desk).
Circuit breakers inside panel are not very warm.
Thermostat functional.
Door to Market St Studios working and clear.
Build shelves – aisles clear.
Furnace filter cleaned or replaced.
Fire extinguisher charged.

Treehouse / Mezzanine	OK	Deficiencies Noted	Action Taken
Stairs clear.
Lighting functional.
Mezzanine walkway clear, free of tripping hazards.
Stacks in Mezzanine are safe.
Vacuum cleared of debris, drum emptied if necess.
Treehouse walkway clear.
Treehouse electrical is safe.
Furnace filter cleaned or replaced.

Hardware ID	OK	Deficiencies Noted	Action Taken
Walkway clear, clean & dry.
Lighting functional.

TARDIS	OK	Deficiencies Noted	Action Taken
Door & lock functional.
Lighting functional.
Items on floor safely placed or stacked.
Online sales lighting functional.

Advanced Test	OK	Deficiencies Noted	Action Taken
Walkway clear, clean & dry.
Lighting functional.
Electrical panel accessible.
Circuit breakers inside panel are not very warm.
Fire extinguisher charged.

Restroom & Cleaning Area (nr Pre-Build)	OK	Deficiencies Noted	Action Taken
Restroom clean & sanitary.
Toilet, sink & paper towel dispenser functional.
Restroom light, fan, and door functional.
Cleaning room light functional.

Pre Build	OK	Deficiencies Noted	Action Taken
Walkway clear, clean & dry.
Lighting functional.
Computers stacked safely.
Eval cart stowed (if not in use).
Vacuum functional.
Basic Test floor clear
Fire extinguisher charged.

Hardware Donations	OK	Deficiencies Noted	Action Taken
Floor clear, clean & dry.
Tables uncluttered.
Lighting functional.
Containers not overflowing.
Carts functional & stowed (fix/replace bent wheels).
Cardboard boxes area not overflowing.
Double doors are functional (can prop open, lock).
Clean or replace ceiling filter for HVAC.

Front Desk	OK	Deficiencies Noted	Action Taken
Floor clear, clean & dry.
Lost & Found not overflowing.
Main entrance double door works.
Lighting functional.

Tech Support	OK	Deficiencies Noted	Action Taken
Floor clear, clean & dry.
Computer shelves not overflowing.
Lighting functional.

A/V	OK	Deficiencies Noted	Action Taken
Floor of room clear, clean & dry.
Lighting functional.
Hallway clear near A/V cart.
A/V stuff in hallway safely stacked.

Store Storage Room	OK	Deficiencies Noted	Action Taken
Walkway clear, clean & dry.
Any stacks are safe.
Doors are functional.
Lighting functional.

Tank	OK	Deficiencies Noted	Action Taken
Floor clear, clean & dry.
Rolling carts functional.
Lighting functional.
Door locks.

Fancy Bathroom	OK	Deficiencies Noted	Action Taken
Clean & sanitary.
Toilet, sink & paper towel dispenser functional.
No water leaks.
Lights, fan are functional
Doors locks.

Small Kitchen	OK	Deficiencies Noted	Action Taken
Floor clear, clean & dry.
Sink works, no leaks.
No small appliances left on.
Lighting functional.
Fire extinguisher charged.

Server Room	OK	Deficiencies Noted	Action Taken
Floor clear, clean & dry.
No trip hazards.
Electrical is safe.
Lighting functional.
A/C working.
Fire extinguisher charged.

Mac Land	OK	Deficiencies Noted	Action Taken
Eval / Incoming area's floor is clear, clean & dry.
Eval lighting is functional.
Floor of Mac Build clear, clean & dry.
Lighting for Mac Build functional.
Thermostat functional.

Build Room	OK	Deficiencies Noted	Action Taken
Walkways are clear, clean & dry.
Electrical is safe.
Lighting functional.
Electrical panel accessible.
Circuit breakers inside panel are not very warm.

Classroom	OK	Deficiencies Noted	Action Taken
Floor clear, clean & dry.
Lighting functional.

Hallway between Classroom & Laptops	OK	Deficiencies Noted	Action Taken
Floor clear, clean & dry.
Carts stowed & in good working order.
Items not stacked on floor.
Thermostat functional.
Fire extinguisher charged.
Laptops	OK	Deficiencies Noted	Action Taken
Walkways clear, clean & dry.
Lighting functional.
Electrical panel accessible.
Circuit breakers inside panel are not very warm.

Double Restrooms (nr Laptops)	OK	Deficiencies Noted	Action Taken
Clean & sanitary.
Toilets, sinks & paper towel dispensers functional.
No water leaks.
Lights, fans are functional
Doors locks.

Storage Near Double Restrooms	OK	Deficiencies Noted	Action Taken
Electrical panel accessible.
Circuit breakers inside panel are not very warm.
Any stacks are safe.
Lighting functional.

Small Hallway to Kitchen	OK	Deficiencies Noted	Action Taken
Fluorescent bulbs safely stored.
PLUG cabinet locked.

Kitchen	OK	Deficiencies Noted	Action Taken
Floor clear, clean & dry.
Garbage not overflowing
Refrigerators working.
Microwave working.
Dishwasher works, no leaks.
Sink works, no leaks.
No fire hazards (e.g. sm appliance left on).
Free items not overflowing.
Free food is edible.
Lighting functional.

Library	OK	Deficiencies Noted	Action Taken
Floor clear, clean & dry.
Aisles clear.
Lighting functional.
Chairs stowed in internet user area.

Lounge	OK	Deficiencies Noted	Action Taken
Walkway clear, clean & dry.
Work table uncluttered.
Supplies on shelves.
Thermostat functional.
Lighting functional.

Monkeyhouse	OK	Deficiencies Noted	Action Taken
Floor clear, clean & dry.
Copy machine, safe, file cabinets accessible.
Lighting functional.

Meeting Room	OK	Deficiencies Noted	Action Taken
Walkway around perimeter of room clear.
Lighting functional.

Store	OK	Deficiencies Noted	Action Taken
Aisles clear.
Floor clear, clean & dry.
Double doors are functional (can prop open, lock).
Door to hall near meeting room locks.
Lighting functional.
Thermostat functional.
No electrical hazards.

South Dock	OK	Deficiencies Noted	Action Taken
Rollup door works, and is secured.
Any stacks are safe.
Lighting functional.
Stairs to office space are clear.

New Office Space	OK	Deficiencies Noted	Action Taken
Walkways clear, clean & dry.
Floor uncluttered.
Lighting functional.
Water heater not leaking.

Escape Hatch	OK	Deficiencies Noted	Action Taken
Walkway clear, clean & dry.
Floor uncluttered.
Lighting functional.
Ladder to roof sturdy, hatch works.

Roof	OK	Deficiencies Noted	Action Taken
Roof is clear of debris.
Lines to HVAC units are intact.
Roof is well sealed.
HVAC filter for Admin/Mac cleaned or replaced.*
HVAC filter for store cleaned or replaced.**
*Admin/Mac HVAC unit is straight ahead from hatch door. Bring a 5/16” nut driver.
**Store HVAC unit is to the right of Admin/Mac HVAC unit. Need same 5/16” nut driver.

Wine Cellar	OK	Deficiencies Noted	Action Taken
Walkway clear, clean & dry.
Floor uncluttered.
Lighting functional.
Furnace filter unclogged.