## Sheet1
Printer Land	OK	Deficiencies Noted	Action Taken
Door to Pre-Build working & clear.
Floor clear, clean & dry.
Gloves, glasses, aprons, available.
Trash bin not overflowing.

Recycling	OK	Deficiencies Noted	Action Taken
Roll-up door to parking lot working & clear.
Electrical panel accessible, breakers not hot.
Small door to parking lot works & clear-inside&out.
Floor clear, clean & dry.
Fire extinguisher charged, marked as inspected.
Lights are all functional.
Computers stacked safely.
Gloves, glasses, dust masks, earplugs available.
First Aid & Blood Spill kits stocked.
Electrical panel accessible, breakers not hot.
Thermostat functional.
Door to Market St Studios working and clear.
Paddle door to street also working.
Build shelves – aisles clear.
Furnace filter checked & replaced if necessary.

Treehouse / Mezzanine	OK	Deficiencies Noted	Action Taken
Stairs clear.
Lighting functional.
Mezzanine walkway clear, free of tripping hazards.
Stacks in Mezzanine are safe.
Vacuum cleared of debris, drum emptied if necess.
Treehouse walkway clear.
Treehouse electrical is safe.
Furnace filter checked & replaced if necessary.

Hardware ID / Hallway to Advanced Test	OK	Deficiencies Noted	Action Taken
Walkway clear, clean & dry.
Lighting functional.

Advanced Test	OK	Deficiencies Noted	Action Taken
Walkway clear, clean & dry.
Electrical panel accessible, breakers not hot.
Lighting functional.
Fire extinguisher charged, marked as inspected.
TARDIS door works, lock works.
Lights in TARDIS functional.
Online sales light OK, electrical is safe.

Pre Build	OK	Deficiencies Noted	Action Taken
Walkway clear, clean & dry.
Lighting functional.
Computers stacked safely.
Cart stowed.
Vacuum functional.
Restroom clean & sanitary.
Toilet, sink & paper towel dispenser functional.
Restroom light, fan, and door functional.

Hardware Donations	OK	Deficiencies Noted	Action Taken
Floor clear, clean & dry.
Tables uncluttered.
Lighting functional.
Containers not overflowing.
Carts stowed.
Cardboard boxes area not overflowing.
Double doors are functional (can prop open, lock).
Bathroom light/fan/sink/toilet/paper towels/lock OK
1st Aid and Blood Spill Kit stocked.
Cleaning supply area tidy.
A/V carts safe. No trip hazards near walkway.

Front Desk	OK	Deficiencies Noted	Action Taken
Floor clear, clean & dry.
Lost & Found not overflowing.
Main entrance double door works.
Lighting functional.

Tech Support	OK	Deficiencies Noted	Action Taken
Floor clear, clean & dry.
Computer shelves not overflowing.
Lighting functional.

Online Sales / A/V Room	OK	Deficiencies Noted	Action Taken
Floor of room clear, clean & dry.
Lighting functional.
Hallway clear near bathroom.

Store Storage Room	OK	Deficiencies Noted	Action Taken
Walkway clear, clean & dry.
Fire extinguisher charged, marked as inspected.
Any stacks are safe.
Doors are functional.
Lighting functional.

Mac Incoming	OK	Deficiencies Noted	Action Taken
Floor clear, clean & dry.
Lighting functional.

Fancy Bathroom	OK	Deficiencies Noted	Action Taken
Clean & sanitary.
Toilet, sink & paper towel dispenser functional.
No water leaks.
Lights, fan are functional.
Doors locks.

Small Kitchen	OK	Deficiencies Noted	Action Taken
Floor clear, clean & dry.
Sink works, no leaks.
No small appliances left on.
Lighting functional.

Server Closet	OK	Deficiencies Noted	Action Taken
Floor clear, clean & dry.
Lighting switch and bulbs functional.
Door is functional and locks properly.

Server Room	OK	Deficiencies Noted	Action Taken
Floor clear, clean & dry.
No trip hazards.
Electrical is safe.
Lighting switch and bulbs functional.
Both doors functional and lock properly.
Fire extinguisher charged, marked as inspected.

Mac Land	OK	Deficiencies Noted	Action Taken
Floor clear, clean & dry.
Lighting functional.
Thermostat functional.

Build Room	OK	Deficiencies Noted	Action Taken
Walkways are clear, clean & dry.
Electrical is safe.
Lighting functional.
Electrical panel accessible, breakers not hot.

Classroom	OK	Deficiencies Noted	Action Taken
Floor clear, clean & dry.
Lighting functional.

Hall From Library to Mac Land	OK	Deficiencies Noted	Action Taken
Floor clear, clean & dry.
Carts stowed & in good working order.
Items not stacked on floor.
Fire extinguisher charged, marked as inspected.
Thermostat functional.

Laptops	OK	Deficiencies Noted	Action Taken
Walkways clear, clean & dry.
Lighting functional.
Electrical panel accessible, breakers not hot.

Double Restrooms (SW Corner)	OK	Deficiencies Noted	Action Taken
Clean & sanitary.
Toilets, sinks & paper towel dispensers functional.
No water leaks.
Lights, fans are functional
Doors locks.

Storage Near Double Restrooms	OK	Deficiencies Noted	Action Taken
Electrical panel accessible, breakers not hot.
Any stacks are safe.
Lighting functional.

Small Hallway to Kitchen	OK	Deficiencies Noted	Action Taken
Fluorescent bulbs safely stored.
PLUG cabinet locked.

Kitchen	OK	Deficiencies Noted	Action Taken
Floor clear, clean & dry.
Fire extinguisher charged, marked as inspected.
Garbage not overflowing
Refrigerators working.
Microwave working.
Dishwasher works, no leaks.
Sink works, no leaks.
No fire hazards (e.g. sm appliance left on).
Free items not overflowing.
Free food is edible.
Lighting functional.

Library	OK	Deficiencies Noted	Action Taken
Floor clear, clean & dry.
Aisles clear.
Lighting functional.
Thermostat functional.
Chairs stowed in internet user area.

Lounge	OK	Deficiencies Noted	Action Taken
Walkway clear, clean & dry.
Work table uncluttered.
Supplies on shelves.
Lighting functional.

Monkeyhouse	OK	Deficiencies Noted	Action Taken
Floor clear, clean & dry.
Printer, file cabinets accessible.
Lighting functional.

Meeting Room	OK	Deficiencies Noted	Action Taken
Walkway around perimeter of room clear.
Lighting functional.

Store	OK	Deficiencies Noted	Action Taken
Aisles clear.
Floor clear, clean & dry.
Double doors are functional (can prop open, lock).
Door to hall near meeting room locks.
Lighting functional.
Thermostat functional.
No electrical hazards.

South Dock	OK	Deficiencies Noted	Action Taken
Rollup door works, and is secured.
Any stacks are safe.
Lighting functional.
Stairs to office space are clear.

Big Office	OK	Deficiencies Noted	Action Taken
Walkways clear, clean & dry.
Fire extinguisher charged, marked as inspected.
Floor uncluttered.
Lighting functional.
Water heater not leaking.

Escape Hatch	OK	Deficiencies Noted	Action Taken
Walkway clear, clean & dry.
Floor uncluttered.
Lighting functional.
Ladder to roof sturdy, hatch works.

Roof	OK	Deficiencies Noted	Action Taken
Roof is clear of debris.
Lines to HVAC units are intact.
Roof is well sealed.
HVAC filter for Admin/Mac cleaned or replaced.*
HVAC filter for store cleaned or replaced.**
*Admin/Mac HVAC unit is straight ahead from hatch door. Bring a 5/16” nut driver.
**Store HVAC unit is to the right of Admin/Mac HVAC unit. Need same 5/16” nut driver.

Wine Cellar	OK	Deficiencies Noted	Action Taken
Walkway clear, clean & dry.
Floor uncluttered.
Lighting functional.
Furnace filter not clogged.