## Sheet1
Recycling	OK	Deficiencies Noted	Action Taken
Door to Market St Studios working and clear.
Paddle door to street also working.
Emergency Sign near Mkt St Stds tested. Unit 2
Electrical panel accessible, breakers not hot.
Computers stacked safely.
Gloves, glasses, dust masks, earplugs available.
First Aid & Blood Spill kits stocked.
Thermostat functional.
Fire extinguisher charged, marked as inspected.
Floor clear, clean & dry.
Lights are all functional.
Build shelves – aisles clear.
Furnace filter checked & replaced if necessary.
Roll-up door to parking lot working & clear.
Small door to parking lot works & clear-inside&out.
Emergency Sign near Bench tested. Unit 1
Electrical panel accessible, breakers not hot.
Parking lot (trash/recycle/steel) free of trip hazards.
Check Advanced Recycl fan, replace if necessary.

Gaylord Storage Area	OK	Deficiencies Noted	Action Taken
Floor clear, clean & dry.
Pallets and Totes stored safely.
Double stacks are safe.
Forklift parked safely.
No trip hazards.Access to aisles, doors unimpeded.
Lights & plugs functional and safe.

Sorting Area	OK	Deficiencies Noted	Action Taken
Floor clear, clean & dry.
Table and shelves (incl Printers) not overflowing.
Trash bin not overflowing.
Lights & plugs functional and safe.
Door to SDA working & clear of trip hazards.
Emerg. Sign at nr warehse/SDA door tested. Unit 3

SDA – Secure Data Area	OK	Deficiencies Noted	Action Taken
Hall: Stacks by SDA & Online Sales safe.
Cart stowed safely.
Walkway clear, clean & dry.
Lighting functional.
Computers stacked safely.
Vacuum functional.
Both doors functional and lock properly.
Emergency Sign at East end of SDA tested. Unit 5

Hardware Donations	OK	Deficiencies Noted	Action Taken
Floor clear, clean & dry.
Tables uncluttered.
Lighting functional.
Emergency Sign at double doors tested. Unit 6
Double doors functional (can prop/open/lock).
Fire extinguisher charged, marked as inspected.
HVAC filter in ceiling checked, replaced if necessary.
Containers not overflowing.
Carts stowed.
Cardboard boxes area not overflowing.
A/V storage is safe. No trip hazards near walkway.
Restroom clean & sanitary.
Toilet, sink & paper towel dispenser functional.
Restroom light, fan, and door functional.
1st Aid and Blood Spill Kit stocked.
Cleaning supply area tidy.

A/V Storage, Hardware ID, Hall to Hardwr Test	OK	Deficiencies Noted	Action Taken
Emergency Sign in hall tested. Unit 4
A/V cart storage safe.
Walkway clear, clean & dry.
Lighting functional.

Treehouse & Mezzanine / Attic	OK	Deficiencies Noted	Action Taken
Doors functional and lock.
Stairs clear.
Mezzanine lighting functional.
Mezzanine walkway clear, free of tripping hazards.
Stacks in Mezzanine are safe.
Mezzanine vacuum checked, bag changed if full.
Mezzanine hot water heater not leaky.
Treehouse walkway clear.
Treehouse electrical is safe.
Treehouse vacuum checked, changed if full.
Furnace filter checked & replaced if necessary.

Hardware ID	OK	Deficiencies Noted	Action Taken
Chairs stowed at table, not in walkway.
Items on carts stored safely.

BETA – Build & Eval Test Area	OK	Deficiencies Noted	Action Taken
Walkway clear, clean & dry.
Electrical panel accessible, breakers not hot.
Lighting functional.
Vacuum functional.
Fire extinguisher charged, marked as inspected.

Onlines Sales Office	OK	Deficiencies Noted	Action Taken
Lights & plugs functional and safe.
Door is functional and locks properly.

Build Room	OK	Deficiencies Noted	Action Taken
Emergency Sign tested. Unit 8
Walkways are clear, clean & dry.
Electrical is safe.
Lighting functional.
Electrical panel accessible, breakers not hot.

Server Room	OK	Deficiencies Noted	Action Taken
Floor clear, clean & dry.
No trip hazards.
Electrical is safe.
Lighting switch and bulbs functional.
Both doors functional and lock properly.
Fire extinguisher charged, marked as inspected.
HVAC system visual inspection. Filters cleaned.
Phone system visual inspection.

Mac Land	OK	Deficiencies Noted	Action Taken
Floor clear, clean & dry.
Lighting functional.
Thermostat functional.
Incoming area clear of trip hazards.

Mac Closet	OK	Deficiencies Noted	Action Taken
Floor clear, clean & dry.
Lighting switch and bulbs functional.
Door is functional and locks properly.

Small Kitchen	OK	Deficiencies Noted	Action Taken
Floor clear, clean & dry.
Drinking fountain works, no leaks.
Fire extinguisher charged, marked as inspected.
1st Aid Kit stocked.
Sink works, no leaks.
HVAC clear tube drain into sink is not kinked.
No small appliances left on.
Lighting functional.

Main Hall	OK	Deficiencies Noted	Action Taken
Carts stowed inside yellow lines.
No trip hazards.
HVAC filter above fancy bath checked, repl if nec.
Hot water heater above fancy bath not leaky.

Fancy Bathroom	OK	Deficiencies Noted	Action Taken
Clean & sanitary.
Toilet, sink & paper towel dispenser functional.
No water leaks.
Lights, fan are functional.
Doors locks.

Thrift Store Storage Room	OK	Deficiencies Noted	Action Taken
Walkway clear, clean & dry.
Fire extinguisher charged, marked as inspected.
Any stacks are safe.
Doors are functional. Hall door locks.
Lighting functional.

Public Services Office	OK	Deficiencies Noted	Action Taken
Door is functional and locks properly.
Floor of room clear, clean & dry.
Lighting functional.
Hallway clear near bathroom.

Tech Support	OK	Deficiencies Noted	Action Taken
Floor clear, clean & dry.
Computer shelves not overflowing.
Lighting functional.
Fire extinguisher charged, marked as inspected.

Front Desk	OK	Deficiencies Noted	Action Taken
Floor clear, clean & dry.
Lost & Found not overflowing.
Lighting functional.
Main entrance double door works.
Emergency Sign tested and working. Unit 7			(Use ladder)

Thrift Store	OK	Deficiencies Noted	Action Taken
Double doors are functional (can prop open, lock).
Emergency Sign tested and working. Unit 11			(Use ladder)
Aisles clear.
Floor clear, clean & dry.
Lighting functional.
Thermostat functional.
No electrical hazards.
Door to hall nr meeting rm locks (knob & deadbolt).

South Door Area (Alarm Pad)	OK	Deficiencies Noted	Action Taken
Outside door is functional and closes by itself.
Emergency Sign at door tested. Unit 16			(Use ladder)
Alarm functional. “System not ready”=normal during work day.
Lighting functional for hall & Meeting Room.

Meeting Room	OK	Deficiencies Noted	Action Taken
Door is functional.
Emergency Sign at door tested. Unit 15
Floor is clear of trip hazards.
Lighting is functional.
Electrical is safe.

Monkeyhouse	OK	Deficiencies Noted	Action Taken
Floor clear of trip hazards.
Lighting functional.
Closet door locks.
Main door locks.

Lounge / Supplies outside Monkeyhouse	OK	Deficiencies Noted	Action Taken
Walkway clear, clean & dry.
Work table uncluttered.
Supplies on shelves.
Lighting functional.

Internet Area	OK	Deficiencies Noted	Action Taken
Emergency Sign at doorway tested. Unit 14
Floor clear, clean & dry.
Aisles clear.
Lighting functional.
Thermostat functional.
Chairs stowed in internet user area.

Small Office (nr Large Kitchen)	OK	Deficiencies Noted	Action Taken
Walkways clear, clean & dry.
Lighting functional.
Door is functional and locks properly.

Large Kitchen	OK	Deficiencies Noted	Action Taken
Emergency Sign tested. Unit 13
Floor clear, clean & dry.
Fire extinguisher charged, marked as inspected.
Garbage not overflowing
Refrigerators working.
Microwave working.
Dishwasher works, no leaks.
Sink works, no leaks.
No fire hazards (e.g. sm appliance left on).
Free items not overflowing.
Free food is edible.
Lighting functional.

Small Hallway to Bathrooms	OK	Deficiencies Noted	Action Taken
Fluorescent bulbs safely stored.
PLUG cabinet locked.
Emergency Sign near South dock tested. Unit 12

Double Bathrooms (SW Corner)	OK	Deficiencies Noted	Action Taken
Clean & sanitary.
Toilets, sinks & paper towel dispensers functional.
No water leaks.
Lights, fans are functional
Doors lock.

Storage Near Double Restrooms	OK	Deficiencies Noted	Action Taken
Electrical panel accessible, breakers not hot.
Any stacks are safe.
Lighting functional.

South Dock	OK	Deficiencies Noted	Action Taken
Rollup door works, and is secured.
Any stacks are safe.
Lighting functional.
Stairs to office space are clear.

Big Office	OK	Deficiencies Noted	Action Taken
Fire extinguisher charged, marked as inspected.
Walkways clear, clean & dry.
Floor uncluttered.
Lighting functional.
Water heater not leaking.

Escape Hatch	OK	Deficiencies Noted	Action Taken
Walkway clear, clean & dry.
Floor uncluttered.
Lighting functional.
Ladder to roof sturdy, hatch works.
Door is functional and locks properly.

Roof	OK	Deficiencies Noted	Action Taken
Roof is clear of debris.
Lines to HVAC units are intact.
Roof is well sealed.
HVAC filter for Admin/Mac inspect & repl if necess.*
HVAC filter for Store inspect & replace if necess.**
*Admin/Mac HVAC unit is straight ahead from Escape Hatch door. Bring a 5/16” nut driver.
**Store HVAC unit is to the right of Admin/Mac HVAC unit. Need same 5/16” nut driver.

Wine Cellar	OK	Deficiencies Noted	Action Taken
Fire extinguisher charged, marked as inspected.
Walkway clear, clean & dry.
Floor uncluttered.
Lighting functional.
Furnace filters inspected, replaced if necessary.

CGL – Classic Gaming Library	OK	Deficiencies Noted	Action Taken
Door is functional and locks properly.
Lighting works (switch near stairs).
Electrical is safe.
Stacks are safe.
Stairs to Internet Area are clear.

Hall Between Laptops and Classroom	OK	Deficiencies Noted	Action Taken
Emergency Sign at south end tested. Unit 9
Floor clear, clean & dry.
Carts stowed & in good working order.
Items not stacked on floor.
Fire extinguisher charged, marked as inspected.
Thermostat functional.

Classroom	OK	Deficiencies Noted	Action Taken
Emergency Sign at door tested. Unit 10
Floor clear, clean & dry.
Double doors work, right door latches to upper jamb
Lighting functional.

Laptops	OK	Deficiencies Noted	Action Taken
Storage closet near main hall locks.
Walkways clear, clean & dry.
Lighting functional.
Electrical panel accessible, breakers not hot.
Storage closet near bathrooms locks.
Door to bath hallway locks.
Hot water heater above bath not leaky.